MEMORIA DE CALIDADES MCC250

Foundation and Structures.

- The foundation and structure will be constructed of reinforced concrete with a waffle slab.

Enclosures and Interior Partitions.

- Brick enclosure with an air chamber and thermal insulation. The interior layout will be finished with 7 cm ceramic bricks.

Flooring, tiling, and sanitary fixtures.

- Interior flooring in porcelain stoneware tiles and exterior flooring in non-slip stoneware.

- Fully tiled bathrooms. Toilet, sink, and shower. White Duravit sanitary fixtures.

- Tiling in bathrooms and kitchen with top-quality porcelain or similar tiles.

Paint.

- Smooth white interior paint on walls and ceiling. Facade with a white single-coat finish.

Exterior and interior woodwork.

- Aluminum exterior woodwork with double glazing, Climalit or similar.

- White lacquered wood interior carpentry, built-in wardrobe fronts with white lacquered sliding doors, lined interiors, and an upper shelf and coat rack.

- Reinforced main door with 6 security points.

Plumbing.

- Kitchen faucets and single-lever toilets, models to be selected by the project manager.

- Washing machine connection and drain.

- Dishwasher connection and drain in the kitchen.

- Aerothermal system for hot water supply.

Electrical installation.

- Electrical system and Niessen TV points.

Other installations.

- Pre-installed air conditioning and ducted heating throughout the home.

- 5x3m pool with pre-installed heating.

- Video intercom.*

La empresa se reserva el derecho de modificar esta memoria de calidades, siempre que sea exigido por motivos comerciales o técnicos.